## Sample
Manufacturer | IBM
TypeModel | 7979 - B4G
OrigineSérie | KDVZYAR
Name | 7979_A001
Location | X32A14D12U01
Categorie | Server
Description | System X3650
Poids | 29
Puissance | 0.97
Depart Electrique 1 | S13.58 PH0
Depart Electrique 2 | S14.58 PH0
U | 2
Surface | 0.31 sqm

## List
Manufacturer | TypeModel | OrigineSérie | Name | Location | Categorie | Description | Statut | Date Installation | Poids | Puissance | Depart Electrique 1 | Depart Electrique 2 | U | Surface
A10 | A102 | A11 | A12 | X31 | A08 | A26 | A01 | A182 | A83 | A85 | A192 | A193 | A37 | A31
BNT | NG | XPQNT 00390030 | BNT A CMS18 | X32A12D13U01 | Switch | Optical Tranceiver | Productive | 2016-05-02 | 0.5 | 0.035 | S14.06 PH0 |  | 1 | 0.01 sqm
3COM | ETHERNET HUB 8 | 7H6V0E393D | HUB 1 CMS18 | X32A12D13U01 | Switch | HUB | Productive | 2016-05-02 | 1 | 0.02 | S14.06 PH0 |  | 1 | 0.03 sqm
BNT | NG | XPQNT 00460039 | BNT C CMS18 | X32A12D13U02 | Switch | Optical Tranceiver | Productive | 2016-05-02 | 0.5 | 0.035 | S13.06 PH0 |  | 1 | 0.01 sqm
3COM | ETHERNET HUB 8 | 7H6V0E3714 | HUB 2 CMS18 | X32A12D13U02 | Switch | HUB | Productive | 2016-05-02 | 1 | 0.02 | S13.06 PH0 |  | 1 | 0.03 sqm
Dell | OptiPlex - 790 USFF | FTLV75J | CEDICAM UC 64427 | X32A12D13U05 | Server | Desktop 790 Ultra Small Form Factor (USFF ) | Productive | 2016-02-19 | 4 | 0.2 |  |  | 0 | 0.02 sqm
Dell | 15FP - 1U | CN-0D320J-74261-91H-8R6S |  | X32A12D13U06 | Other | FLAT PANEL COLOR MONITOR 1U | Productive | 2016-02-19 | 4 | 0.1 |  |  | 1 | 0.08 sqm
Compaq | TFT5600RKM | 9Y29JTJ86 020 | PC DE SPARE | X32A12D13U07 | Other |  | Productive | 2016-02-19 | 2 | 0 |  |  | 1 | 0.12 sqm
3COM | ETHERNET HUB 8 | 7H3F007500 | HUB1 SPARE | X32A12D13U08 | Switch | HUB | Productive | 2016-02-19 | 1 | 0.02 |  |  | 1 | 0.03 sqm
3COM | ETHERNET HUB 8 | 7H3F007497 | HUB2 SPARE | X32A12D13U08 | Switch | HUB | Productive | 2016-02-19 | 1 | 0.02 |  |  | 1 | 0.03 sqm
BNT | NG | XPQNT 00500081 | BNT A CMS06 | X32A12D13U11 | Switch | Optical Tranceiver | Productive | 2016-05-02 | 0.5 | 0.035 | S14.09 PH0 |  | 1 | 0.01 sqm
3COM | ETHERNET HUB 8 | 7H6B100D6F | HUB 1 CMS06 | X32A12D13U11 | Switch | HUB | Productive | 2016-05-02 | 1 | 0.02 | S14.09 PH0 |  | 1 | 0.03 sqm
BNT | NG | XPQNT 0106013 | BNT A CMS01 | X32A12D13U12 | Switch | Optical Tranceiver | Productive | 2016-05-02 | 0.5 | 0.035 | S13.06 PH0 |  | 1 | 0.01 sqm
3COM | ETHERNET HUB 8 | 7H6V0E396A | HUB 2 CMS06 | X32A12D13U12 | Switch | HUB | Productive | 2016-05-02 | 1 | 0.02 | S13.07 PH0 |  | 1 | 0.03 sqm
BNT | NG | XPQNT 00500069 | BNT A CMS01 | X32A12D13U13 | Switch | Optical Tranceiver | Productive | 2016-05-02 | 0.5 | 0.035 | S14.09 PH0 |  | 1 | 0.01 sqm
3COM | ETHERNET HUB 8 | KH6S006234 | HUB 1 CMS01 | X32A12D13U13 | Switch | HUB | Productive | 2016-05-02 | 1 | 0.02 | S14.09 PH0 |  | 1 | 0.03 sqm
3COM | ETHERNET HUB 8 | 7H6V100AD7 | HUB 2 CMS01 | X32A12D13U14 | Switch | HUB | Productive | 2016-05-02 | 1 | 0.02 | S13.07 PH0 |  | 1 | 0.03 sqm
BNT | NG | XPQNT 00490055 | BNT C CMS01 | X32A12D13U14 | Switch | Optical Tranceiver | Productive | 2016-05-02 | 0.5 | 0.035 | S14.07 PH0 |  | 1 | 0.01 sqm
3COM | ETHERNET HUB 8 | 7H3V19840E | HUB2 CMS26 | X32A12D13U15 | Switch | HUB | Productive | 2005-01-07 | 1 | 0.02 | S13.01 PH0 |  | 1 | 0.03 sqm
Bull | Crypt2Pay - 200 | XPQNT00490056 | BNG A CMS26 | X32A12D13U15 | Switch | ENCRYPTER 76610249 | Productive | 2005-01-07 | 9 | 1 | S13.01 PH0 |  | 2 | 0.15 sqm
3COM | ETHERNET HUB 8 | 7H6V100CA1 | HUB1 CMS26 | X32A12D13U15 | Switch | HUB | Productive | 2005-01-07 | 1 | 0.02 |  |  | 1 | 0.03 sqm
Bull | Crypt2Pay - 200 | XPQNT00500078 | CMS26 BNG D | X32A12D13U15 | Switch | ENCRYPTER 76610249 | Productive | 2007-12-12 | 9 | 1 | S13.01 PH0 |  | 2 | 0.15 sqm
BNT | NG | XPQNT 00200005 | BNT SPARE A B2 | X32A12D13U18 | Switch | Optical Tranceiver | Productive | 2016-09-07 | 0.5 | 0.035 |  |  | 1 | 0.01 sqm
BNT | NG | XPQNT 00490058 | BNT SPARE C B2 | X32A12D13U18 | Switch | Optical Tranceiver | Productive | 2016-09-07 | 0.5 | 0.035 |  |  | 1 | 0.01 sqm
BNT | NG | XPQNT 00390013 | BNT SPARE C B2 | X32A12D13U18 | Switch | Optical Tranceiver | Productive | 2016-09-07 | 0.5 | 0.035 |  |  | 1 | 0.01 sqm
BNT | NG | XPQNT 01060103 | BNT C CMS06 | X32A12D13U18 | Switch | Optical Tranceiver | Productive | 2016-09-07 | 0.5 | 0.035 | S13.07 PH0 |  | 1 | 0.01 sqm
BNT | NG | XPQNT 00480045 | BNT SPARE A B2 | X32A12D13U19 | Switch | Optical Tranceiver | Productive | 2016-09-07 | 0.5 | 0.035 |  |  | 1 | 0.01 sqm
Bull | Crypt2Pay - 200 | XPQNT00510099 | BNG C CMS26 | X32A12D13U22 | Switch | ENCRYPTER 76610249 | Productive | 18-02-2015 | 9 | 1 | S13.01 PH0 |  | 2 | 0.15 sqm
Bull | Crypt2Pay - 200 | XPQNT00480042 | BNG C CMS26 | X32A12D13U23 | Switch | ENCRYPTER 76610249 | Productive | 2005-01-07 | 9 | 1 | S13.01 PH0 |  | 2 | 0.15 sqm
Bull | Crypt2Pay - 200 | XPQNT00500080 | CMS27 BNG D | X32A12D13U31 | Switch | ENCRYPTER 76610249 | Productive | 2007-12-12 | 9 | 1 | S13.01 PH0 |  | 2 | 0.15 sqm
3COM | ETHERNET HUB 8 | 7H6V100A3F | HUB2 CMS27 | X32A12D13U31 | Switch | HUB | Productive | 2005-01-07 | 1 | 0.02 |  |  | 1 | 0.03 sqm
Bull | Crypt2Pay - 200 | XPQNT01060106 | BNG C CMS26 | X32A12D13U31 | Switch | ENCRYPTER 76610249 | Productive | 18-02-2015 | 9 | 1 | S13.01 PH0 |  | 2 | 0.15 sqm
Bull | Crypt2Pay - 200 | XPQNT00500071 | BNG C CMS27 | X32A12D13U31 | Switch | ENCRYPTER 76610249 | Productive | 2005-01-07 | 9 | 1 | S13.01 PH0 |  | 2 | 0.15 sqm
3COM | ETHERNET HUB 8 | 7H3V19C117 | HUB1 CMS27 | X32A12D13U31 | Switch | HUB | Productive | 2005-01-07 | 1 | 0.02 | S13.01 PH0 |  | 1 | 0.03 sqm
Bull | Crypt2Pay - 200 | XPQNT00390014 | BNG A CMS27 | X32A12D13U39 | Switch | ENCRYPTER 76610249 | Productive | 2005-01-07 | 9 | 1 | S13.01 PH0 |  | 2 | 0.15 sqm
DAMAC | RACK 45Umod | 16843 | CABINET TL03 | X32A13D03 | Rack | 45U CABINET | Productive | 2018-01-01 | 250 | 0 |  |  | 45 | 0.65 sqm
IBM | 7979 - A1G | 99R9507 | NA | X32A13D03U12 | Server | System X3650 | Removel (source) | 2020-04-2010 | 29 | 0.97 | USF 1 | USF 2 | 2 | 0.31 sqm
DAMAC | RACK 45Umod | 16841 | CABINET TL02 | X32A13D04 | Rack | Modified 45U Cabinet | Productive |  | 250 | 0 |  |  | 45 | 0.65 sqm
DAMAC | RACK 45Umod | 16844 | CABINET TL01 | X32A13D05 | Rack | Modified 45U Cabinet | Productive |  | 250 | 0 |  |  | 45 | 0.65 sqm
Cisco | 2901 | FGL192522HZ | IMOP-RTROA-SNI-INF-10A | X32A13D05U43 | Switch | High Performance Switch | Productive | 2015-08-31 | 7 | 0.175 |  |  | 1 | 0.19 sqm
DAMAC | RACK 45Umod | 16846 | CABINET DS02 | X32A13D06 | Rack | Modified 45U Cabinet | Productive |  | 250 | 0 |  |  | 45 | 0.65 sqm
DAMAC | RACK 45Umod | 16848 | CABINET DS01 | X32A13D07 | Rack | Modified 45U Cabinet | Productive |  | 250 | 0 |  |  | 45 | 0.65 sqm
DAMAC | RACK 45Umod | 16842 | CABINET CS01 | X32A13D08 | Rack | Modified 45U Cabinet | Productive |  | 250 | 0 |  |  | 45 | 0.65 sqm
DAMAC | RACK 45Umod | 16847 | CABINET CS02 | X32A13D09 | Rack | Modified 45U Cabinet | Productive |  | 250 | 0 |  |  | 45 | 0.65 sqm
Noname | Panel 36 | Toa19d14u33ar | 35m | X32A13D09U40 | Patchpanel | Patch panel with 36 ports | Productive |  | 1 | 0 |  |  | 1 | 0.05 sqm
DAMAC | RACK 45Umod | 16852 | CABINET DS03 | X32A13D10 | Rack | Modified 45U Cabinet | Productive |  | 250 | 0 |  |  | 45 | 0.65 sqm
DAMAC | RACK 45Umod | 16851 | CABINET DS04 | X32A13D11 | Rack | Modified 45U Cabinet | Productive |  | 250 | 0 |  |  | 45 | 0.65 sqm
DAMAC | RACK 45Umod | 16849 | CABINET TL11 | X32A13D12 | Rack | Modified 45U Cabinet | Productive |  | 250 | 0 |  |  | 45 | 0.65 sqm
IBM | C13 - 7 |  | 16A | X32A13D12U01 | ACU | DPI 16A Universal Rack PDU | Productive |  | 1 | 0 |  |  | 1 | 0.05 sqm
IBM | C13 - 7 |  | 16A | X32A13D12U02 | ACU | DPI 16A Universal Rack PDU | Productive |  | 1 | 0 |  |  | 1 | 0.05 sqm
IBM | C13 - 12 | S2.37 PH1 | 32A | X32A13D12U03 | ACU | DPI 32A Universal Rack PDU | Productive |  | 2 | 0 |  |  | 1 | 0.10 sqm
IBM | C13 - 12 | S1.34 PH1 | 32A | X32A13D12U04 | ACU | DPI 32A Universal Rack PDU | Productive |  | 2 | 0 |  |  | 1 | 0.10 sqm
DAMAC | RACK 45Umod | 16845 | CABINET TL12 | X32A13D13 | Rack | Modified 45U Cabinet+D578+D143 | Productive |  | 250 | 0 |  |  | 45 | 0.65 sqm
IBM | C13 - 7 |  | 16A | X32A13D13U01 | ACU | DPI 16A Universal Rack PDU | Productive |  | 1 | 0 |  |  | 1 | 0.05 sqm
IBM | C13 - 7 |  | 16A | X32A13D13U02 | ACU | DPI 16A Universal Rack PDU | Productive |  | 1 | 0 |  |  | 1 | 0.05 sqm
IBM | C13 - 12 | S2.37 PH2 | 32A | X32A13D13U03 | ACU | DPI 32A Universal Rack PDU | Productive |  | 2 | 0 |  |  | 1 | 0.10 sqm
IBM | C13 - 12 | S1.34 PH2 | 32A | X32A13D13U04 | ACU | DPI 32A Universal Rack PDU | Productive |  | 2 | 0 |  |  | 1 | 0.10 sqm
Noname | Panel 24 | CuTob21a14d08u45 |  | X32A13D13U41 | Patchpanel | Patch panel with 24 ports | Productive |  | 1 | 0 |  |  | 1 | 0.05 sqm
Noname | Panel 24 | CuTob21a14d08u44 |  | X32A13D13U42 | Patchpanel |  | Productive |  | 1 | 0 |  |  | 1 | 0.05 sqm
DAMAC | RACK 45Umod | 16850 | CABINET TL13 | X32A13D14 | Rack | Modified 45U Cabinet | Productive |  | 250 | 0 |  |  | 45 | 0.65 sqm
IBM | C13 - 7 |  | 16A | X32A13D14U01 | ACU | DPI 16A Universal Rack PDU | Productive |  | 1 | 0 |  |  | 1 | 0.05 sqm
IBM | C13 - 7 |  | 16A | X32A13D14U02 | ACU | DPI 16A Universal Rack PDU | Productive |  | 1 | 0 |  |  | 1 | 0.05 sqm
IBM | C13 - 12 | S2.37 PH3 | 32A | X32A13D14U18 | ACU | DPI 32A Universal Rack PDU | Productive |  | 2 | 0 |  |  | 1 | 0.10 sqm
IBM | C13 - 12 | S1.34 PH3 | 32A | X32A13D14U19 | ACU | DPI 32A Universal Rack PDU | Productive |  | 2 | 0 |  |  | 1 | 0.10 sqm
Informater | RACK 45U - 600BIS | INEXISTANT | CABINET | X32A14D01 | Rack | RACK 45U | Productive | 2005-02-24 | 247 | 0 |  |  | 52 | 0.72 sqm
IBM | ETAGERE |  |  | X32A14D01U20 | Other | ETAGERE pour rack | Productive |  | 1 | 0 |  |  | 1 | 0.36 sqm
Informater | RACK 45U - 600BIS | INEXISTANT | CABINET | X32A14D02 | Rack | RACK 45U | Productive | 2005-02-24 | 247 | 0 |  |  | 52 | 0.72 sqm
Informater | RACK 45U - 600BIS | INEXISTANT | CABINET | X32A14D03 | Rack | RACK 45U | Productive | 2005-02-24 | 247 | 0 |  |  | 52 | 0.72 sqm
Informater | RACK 45U - 600BIS | INEXISTANT | CABINET | X32A14D04 | Rack | RACK 45U | Productive | 2005-02-24 | 247 | 0 |  |  | 52 | 0.72 sqm
Noname | Panel 24 |  |  | X32A14D04U42 | Patchpanel | Patch panel with 24 ports | Productive |  | 1 | 0 |  |  | 1 | 0.05 sqm
Noname | Panel 36 | Toa19d14u32ar | 33m | X32A14D04U43 | Patchpanel | Patch panel with 36 ports | Productive |  | 1 | 0 |  |  | 1 | 0.05 sqm
Informater | RACK 45U - 600BIS | INEXISTANT | CABINET | X32A14D05 | Rack | RACK 45U | Productive | 2005-02-24 | 247 | 0 |  |  | 52 | 0.72 sqm
Informater | RACK 45U - 600BIS | INEXISTANT | CABINET | X32A14D06 | Rack | RACK 45U | Productive | 2005-02-24 | 247 | 0 |  |  | 52 | 0.72 sqm
IBM | C13 - 12 | ON103.63 PH3 |  | X32A14D06U25 | ACU | DPI 32A Universal Rack PDU | Productive |  | 2 | 0 |  |  | 1 | 0.10 sqm
IBM | C13 - 12 | ON102.63 PH3 |  | X32A14D06U26 | ACU | DPI 32A Universal Rack PDU | Productive |  | 2 | 0 |  |  | 1 | 0.10 sqm
Informater | RACK 45U - 600BIS | INEXISTANT | CABINET | X32A14D07 | Rack | RACK 45U | Productive | 2005-02-24 | 247 | 0 |  |  | 52 | 0.72 sqm
IBM | C13 - 12 | ON103.63 PH2 |  | X32A14D07U26 | ACU | DPI 32A Universal Rack PDU | Productive |  | 2 | 0 |  |  | 1 | 0.10 sqm
IBM | C13 - 12 | ON102.63 PH2 |  | X32A14D07U27 | ACU | DPI 32A Universal Rack PDU | Productive |  | 2 | 0 |  |  | 1 | 0.10 sqm
Noname | Panel 36 |  |  | X32A14D07U44 | Patchpanel | Patch panel with 36 ports | Productive |  | 1 | 0 |  |  | 1 | 0.05 sqm
Noname | Panel 36 |  |  | X32A14D07U45 | Patchpanel | Patch panel with 36 ports | Productive |  | 1 | 0 |  |  | 1 | 0.05 sqm
Informater | RACK 45U - 600BIS | INEXISTANT | CABINET | X32A14D08 | Rack | RACK 45U | Productive | 2005-02-24 | 247 | 0 |  |  | 52 | 0.72 sqm
IBM | C13 - 12 | ON103.63 PH1 |  | X32A14D08U22 | ACU | DPI 32A Universal Rack PDU | Productive |  | 2 | 0 |  |  | 1 | 0.10 sqm
IBM | C13 - 12 | ON102.63 PH1 |  | X32A14D08U23 | ACU | DPI 32A Universal Rack PDU | Productive |  | 2 | 0 |  |  | 1 | 0.10 sqm
Noname | Panel 24 | CuTob21a13d13u41 |  | X32A14D08U45 | Patchpanel | Patch panel with 24 ports | Productive |  | 1 | 0 |  |  | 1 | 0.05 sqm
Noname | Panel 24 | CuTob21a13d13u42 |  | X32A14D08U46 | Patchpanel |  | Productive |  | 1 | 0 |  |  | 1 | 0.05 sqm
IBM | 9306 - 420 | 23G5801 | ML1_RSB201 | X32A14D12 | Rack | 42U CABINET | Productive |  | 117 | 0 |  |  | 42 | 0.60 sqm
IBM | 7979 - B4G | KDVZYAR | ML1_X_KDVZYAR | X32A14D12U01 | Server | System X3650 | Productive |  | 29 | 0.97 | S13.58 PH0 | S14.58 PH0 | 2 | 0.31 sqm
IBM | 7979 - B4G | KDZZRYP | ML1_X_KDZZRYP | X32A14D12U07 | Server | System X3650 | Productive |  | 29 | 0.97 | S13.58 PH0 | S14.58 PH0 | 2 | 0.31 sqm
IBM | 7945 - J2G | 99C7613 | IBMMESXCLINFPRD1 | X32A14D12U11 | Server | System X3650 M3 | Productive | 2014-12-19 | 25 | 0.675 | ON102.15 PH0 | ON103.15 PH0 | 2 | 0.35 sqm
IBM | C13 - 12 |  |  | X32A14D12U14 | ACU | DPI 32A Universal Rack PDU | Productive |  | 2 | 0 |  |  | 1 | 0.10 sqm
IBM | C13 - 12 |  |  | X32A14D12U15 | ACU | DPI 32A Universal Rack PDU | Productive |  | 2 | 0 |  |  | 1 | 0.10 sqm
IBM | 7947 - 52G | KD7785K | ML1_X_KD7785K | X32A14D12U16 | Server | System X3650 M2 | Productive |  | 30 | 0.77 | ON102.15 PH0 | ON103.15 PH0 | 2 | 0.31 sqm
IBM | 7945 - J4G | KD1R5T3 | ML1_X_KD1R5T3 | X32A14D12U20 | Server |  | Productive | 17-07-2013 | 25 | 0.675 | S15.13 PH0 | S13.14 PH0 | 2 | 0.35 sqm
IBM | 7947 - 52G | KD498PA | ML1_X_KD498PA | X32A14D12U22 | Server | System X3650 M2 | Productive | 11-05-2010 | 30 | 0.77 | ON102.15 PH0 | ON103.15 PH0 | 2 | 0.31 sqm
IBM | 7947 - 92G | 99T0224 | ML1_X_99T0224 | X32A14D12U24 | Server | System X3650 M2 | Productive |  | 30 | 0.77 | ON102.15 PH0 | ON103.15 PH0 | 2 | 0.31 sqm
IBM | 7947 - 92G | 99T0233 | ML1_X_99T0233 | X32A14D12U26 | Server | System X3650 M2 | Productive |  | 30 | 0.77 | ON102.15 PH0 | ON103.15 PH0 | 2 | 0.31 sqm
IBM | 7945 - J2G | KD17H52 | ML1_X_KD17H52 | X32A14D12U28 | Server | System X3650 M2 | Productive | 08-07-2010 | 25 | 0.13 | ON102.15 PH0 | ON103.15 PH0 | 2 | 0.35 sqm
IBM | 7945 - J2G | KD37T0M | ML1_X_KD37T0M | X32A14D12U32 | Server | System X3650 M3 | Productive | 2010-12-08 | 25 | 0.675 | S13.14 PH0 | S15.13 PH0 | 2 | 0.35 sqm
IBM | 7945 - J2G | KD37P2G | ML1_X_KD37P2G | X32A14D12U34 | Server | System X3650 M3 | Productive | 2010-12-08 | 25 | 0.675 | S13.14 PH0 | S15.13 PH0 | 2 | 0.35 sqm
IBM | 7945 - J2G | KD37P0F | ML1_X_KD37P0F | X32A14D12U36 | Server | System X3650 M3 | Productive | 2010-12-08 | 25 | 0.675 | S15.13 PH0 | S13.14 PH0 | 2 | 0.35 sqm
IBM | 7946 - AC1 | KQVWVCH | ML1_N_KQVWVCH | X32A14D12U38 | Server | System X3550 | Productive | 2010-12-24 | 15.6 | 0.7 | S13.14 PH0 |  | 1 | 0.32 sqm
BAYTECH | DS3 | 21000985-07 | ML1_N_2100098507 | X32A14D12U39 | Switch | SWITCH | Productive | 2010-12-24 | 2 | 0.07 | S13.58 PH0 |  | 1 | 0.08 sqm
IBM | 7945 - J4G | KD41YYK | ML1_X_KD41YYK | X32A14D12U40 | Server | System X3650 M3 | Productive | 20-01-2012 | 25 | 0.675 | ON102.15 PH0 | ON103.15 PH0 | 2 | 0.35 sqm
IBM | C13 - 7 | s15.13 |  | X32A14D12U42 | ACU | DPI 16A Universal Rack PDU 39Y8953 | Productive |  | 1 | 0 |  |  | 1 | 0.05 sqm
IBM | C13 - 7 | s13.14 |  | X32A14D12U42 | ACU | DPI 16A Universal Rack PDU 39Y8953 | Productive |  | 1 | 0 |  |  | 1 | 0.05 sqm
IBM | HEC-1000 | 094A1101305001 | ML1_RSB202 | X32A14D13 | Rack | 7014 MODEL T42 42U | Productive | 2010-04-30 | 261 | 0 |  |  | 42 | 0.72 sqm
Compaq | ProLiant - DL380 | CZC933555Y | ML1_X_CZC933555Y | X32A14D13U09 | Server | PROLIANT RACK SERVER | Productive | 2010-04-27 | 23 | 0.4 | S13.13 PH0 |  | 2 | 0.29 sqm
Compaq | ProLiant - DL380 | CZC9234QJN | ML1_X_CZC93234QJN | X32A14D13U11 | Server |  | Productive | 2010-04-27 | 23 | 0.4 | S13.13 PH0 |  | 2 | 0.29 sqm
Compaq | ProLiant - DL380 | CZC933553V | ML1_X_CZC933553V | X32A14D13U15 | Server |  | Productive | 2010-04-30 | 23 | 0.4 | S14.13 PH0 |  | 2 | 0.29 sqm
HP | 448 | 094A101000863 | ML1_O_094A101000863 | X32A14D13U19 | Storage | External Tape Drive | Productive | 2010-04-27 | 6 | 0.03 | S14.13 PH0 |  | 1 | 0.20 sqm
HP | KVM | 084A121000333 | ML1_O_084A121000333 | X32A14D13U21 | Switch | SWITCH | Productive | 2010-04-27 | 3 | 0 | S13.13 PH0 |  | 1 | 0.10 sqm
3COM | 5500-EI24 | 9LAFBCP39F7C0 | ML1_N_9LAFBCP39F7C0 | X32A14D13U22 | Switch | SWITCH | Productive | 2010-04-27 | 5 | 0.2 | S14.13 PH0 |  | 1 | 0.07 sqm
3COM | 5500-EI24 | 9LAFBCP39EDC0 | ML1_N_9LAFBCP39EDC0 | X32A14D13U23 | Switch | SWITCH | Productive | 2010-04-27 | 5 | 0.2 | S13.13 PH0 |  | 1 | 0.07 sqm
IBM | C13 - 8 | S14.13 |  | X32A14D13U38 | ACU | IEC 16A | Productive |  | 2 | 0 |  |  | 1 | 0.10 sqm
IBM | C13 - 8 | S13.13 |  | X32A14D13U39 | ACU | IEC 16A | Productive |  | 2 | 0 |  |  | 1 | 0.10 sqm
Cannon | Armoire Rack | 0 | ML1_RNB202 | X32A14D14 | Rack | 42U CABINET | Productive | 2011-06-14 | 270 | 0 |  |  | 42 | 0.64 sqm
PUSHKABLUE | FF06S-6P | 660362 | 0499134031 | X32A14D14U06 | Other | Remote Console Access | Productive | 2011-09-05 | 0.42 | 0 | S13.42 PH0 |  | 1 | 0.03 sqm
Checkpoint | SM504 | LR201103004751 | ML1_MOB2SCS01 | X32A14D14U22 | Switch |  | Productive | 2011-05-11 | 4 | 0.065 | S13.42 PH0 |  | 1 | 0.11 sqm
Nokia | IP565 | 93111300084 | ML1_MOB2AFW02 | X32A14D14U23 | Switch |  | Productive | 2011-05-11 | 11.9 | 0.225 | S14.44 PH0 |  | 1 | 0.24 sqm
JUNIPER | SSG 140 | 0185062011000554 | MONFERNO-1 | X32A14D14U25 | Switch | FIREWALL | Productive | 29-07-2011 | 5 | 0.17 | S13.42 PH0 |  | 1 | 0.17 sqm
ISS | Proventia - GX4004C | 6804398 | ML1_MOB2ISS02 | X32A14D14U26 | Switch | Network Intrusion Prevention System | Productive | 2011-08-29 | 11 | 0.1 | S13.42 PH0 |  | 1 | 0.21 sqm
Cisco | 2960S - 48FPS | FOC1532X5TY | ML1_MOB2ASW03-2 | X32A14D14U27 | Switch | SWITCH | Productive | 2011-09-09 | 4.5 | 0.009 | S13.42 PH0 |  | 1 | 0.13 sqm
Cisco | 2960S - 48FPS | FOC1532X5SW | ML1_MOB2ASW03-1 | X32A14D14U28 | Switch | SWITCH | Productive | 2011-09-09 | 4.5 | 0.009 | S13.42 PH0 |  | 1 | 0.13 sqm
Cisco | ASA - 5540 | JMX1534X0PU | ML1_MOB2AFW01 | X32A14D14U30 | Switch | Adaptive Security Appliance | Productive |  | 30 | 0.6 | s13.42 |  | 1 | 0.33 sqm
IBM | 9307 - 4RX | 23CM525 |  | X32A15D03 | Rack | Rack | Productive |  | 125 | 0 |  |  | 42 | 0.60 sqm
IBM | 9308 - 4PX | 23fn812 |  | X32A15D04 | Rack | NETFINITY ENTERPRISE RACK 42U | Productive |  | 234 | 0 |  |  | 42 | 0.70 sqm
IBM | 9307 - 4RX | 23CW279 |  | X32A15D05 | Rack | Rack | Productive |  | 125 | 0 |  |  | 42 | 0.60 sqm
IBM | 9307 - 4RX | 23CW052 | NC | X32A15D06 | Rack | Rack | Productive |  | 125 | 0 |  |  | 42 | 0.60 sqm
Informater | RACK 45U - 600BIS | INEXISTANT | CABINET R2-03 | X32A15D09 | Rack | RACK 45U | Productive |  | 247 | 0 |  |  | 52 | 0.72 sqm
Noname | Panel 24 |  |  | X32A15D09U42 | Patchpanel | Patch panel with 24 ports | Productive |  | 1 | 0 |  |  | 1 | 0.05 sqm
Noname | Panel 24 |  |  | X32A15D09U43 | Patchpanel | Patch panel with 24 ports | Productive |  | 1 | 0 |  |  | 1 | 0.05 sqm
Informater | RACK 45U - 600BIS | INEXISTANT | CABINET R2-02 | X32A15D10 | Rack | RACK 45U | Productive |  | 247 | 0 |  |  | 52 | 0.72 sqm
Informater | RACK 45U - 600BIS | INEXISTANT | CABINET R02-01 | X32A15D11 | Rack | RACK 45U | Productive |  | 247 | 0 |  |  | 52 | 0.72 sqm
Informater | RACK 45U - 600BIS | INEXISTANT | POINT FOCAL R2-02 | X32A15D12 | Rack | RACK 45U | Productive |  | 247 | 0 |  |  | 52 | 0.72 sqm
Informater | RACK 45U - 600BIS | INEXISTANT | POINT FOCAL R2-01 | X32A15D13 | Rack | RACK 45U | Productive |  | 247 | 0 |  |  | 52 | 0.72 sqm
IBM | ETAGERE |  |  | X32A15D13U18 | Other | ETAGERE pour rack | Productive |  | 1 | 0 |  |  | 1 | 0.36 sqm
Informater | RACK 45U | INEXISTANT | ARMOIRE ELECTRIQUE 02 | X32A15D15 | Rack | EQUIPEMENT RACK VITRE 45U | Productive |  | 247 | 0 |  |  | 45 | 0.77 sqm
STRATUS | FT200 | 20434 | CMS26 TELECOM | X32A16D04 | Server | STRATUS SERVER | Productive | 2004-12-14 | 45 | 0 |  |  | 43 | 0.52 sqm
Dell | Rack42U - PS38S | 145168 | LAN 1 | X32A16D06 | Rack | EQUIPMENT RACK 42U | Productive | 2004-12-14 | 170 | 0 |  |  | 42 | 0.61 sqm
SUPERMICRO | Super Chassis | SYSASM2091491 |  | X32A16D06U19 | Other | server | Productive |  | 6.6 | 0.16 |  |  | 1 | 0.15 sqm
SUPERMICRO | Super Chassis | SYSASM2091484 | CAL0271BX-2 | X32A16D06U23 | Other | server | Productive | 2010-01-13 | 6.6 | 0.16 |  |  | 1 | 0.15 sqm
SUPERMICRO | Super Chassis | SYSASM2091534 | CAL0272BX-3 | X32A16D06U26 | Other | server | Productive | 2010-01-13 | 6.6 | 0.16 |  |  | 1 | 0.15 sqm
Cisco | 3750G - 24TS | FOC1347W37G |  | X32A16D06U28 | Switch | Cisco Catalyst switch | Productive | 13-01-2015 | 5.7 | 0.19 |  |  | 1 | 0.13 sqm
Cisco | 3750G - 24TS | FOC1347Z4JH |  | X32A16D06U30 | Switch | Cisco Catalyst switch | Productive | 13-01-2015 | 5.7 | 0.19 |  |  | 1 | 0.13 sqm
Fortinet | FortiGate - 60D | FGT60D4614026298 |  | X32A16D06U33 | Switch | Security appliance | Productive | 2014-11-20 | 0.9 | 0.014 |  |  | 1 | 0.03 sqm
BlackBox | ABC - 25 | INACCESSIBLE | MNP-MOCED5 / CMS27-PART1 | X32A16D06U34 | Switch | 8-Port Ethernet Switch | Productive | 2004-12-15 | 5 | 0.01 | S14.03 PH0 |  | 4 | 0.07 sqm
BlackBox | ABC - 25 | INACCESSIBLE | MNP-MOCED3 / CMS26-PART1 | X32A16D06U35 | Switch | 8-Port Ethernet Switch | Productive | 2004-12-15 | 5 | 0.01 | S14.03 PH0 |  | 4 | 0.07 sqm
MISTRAL | CHIFFREUR E-RSB | 00007872 | CAL0271CH-2 | X32A16D06U40 | Switch | CHIFFREUR E-RSB | Productive | 2010-01-13 | 1 | 0.04 |  |  | 1 | 0.04 sqm
MISTRAL | CHIFFREUR E-RSB | 00007949 | CAL0272CH-3 | X32A16D06U40 | Switch | CHIFFREUR E-RSB | Productive | 2010-01-13 | 1 | 0.04 |  |  | 1 | 0.04 sqm
Dell | Rack42U - PS38S | INEXISTANT | WAN 1 | X32A16D07 | Rack | EQUIPMENT RACK 42U | Productive | 2004-12-14 | 170 | 0 |  |  | 42 | 0.61 sqm
LANTRONIX | Modem | 9903175 | MODEM | X32A16D07U04 | Switch | Modem | Productive |  | 1 | 0.05 | S15.04 PH0 |  | 1 | 0.03 sqm
Multitech | MT2834 | 8146680 | MODEM CMS26 | X32A16D07U04 | Switch | DATA/FAX MODEM | Productive | 2004-12-15 | 1 | 0.04 | S15.04 PH0 |  | 1 | 0.02 sqm
STRATUS | V109 | 03505463 | OC1 CMS26 | X32A16D07U08 | Other | GRAPH | Productive | 2004-12-15 | 8 | 0.2 |  |  | 9 | 0.16 sqm
Dell | Rack42U - PS38S | 145171 | LAN 2 | X32A16D08 | Rack | EQUIPMENT RACK 42U | Productive | 2004-12-14 | 170 | 0 |  |  | 42 | 0.61 sqm
Cisco | 2800 - 2800 | FCZ100621D4 | MNP-TFXOT1 | X32A16D08U15 | Switch | Catalyst 2800 series | Productive | 2006-06-14 | 6 | 0.5 | S14.05 PH0 | S13.04 PH0 | 1 | 0.05 sqm
Cisco | 2800 - 2800 | FCZ100621D3 | MNP-TFXOT2 | X32A16D08U16 | Switch | Catalyst 2800 series | Productive | 2006-06-14 | 6 | 0.5 | S14.05 PH0 | S13.04 PH0 | 1 | 0.05 sqm
Dell | PowerEdge - 2850 | 2YCJC1J | PC Astreinte | X32A16D08U19 | Server | SERVER | Productive | 2004-12-15 | 27 | 0.7 | S14.05 PH0 | S13.04 PH0 | 2 | 0.34 sqm
Dell | RackConsole - 15FP | 6430472119 | RACK CONSOLE | X32A16D08U22 | Other | RACK CONSOLE | Productive | 2004-12-15 | 3 | 0.02 | S14.05 PH0 |  | 6 | 0.03 sqm
Cisco | 3750G - 24TS | FOC1347W38K |  | X32A16D08U30 | Switch | Cisco Catalyst switch | Productive | 2015-04-24 | 5.7 | 0.19 | S14.05 PH0 |  | 1 | 0.13 sqm
Cisco | 3750G - 24TS | FOC1347W38D |  | X32A16D08U32 | Switch | Cisco Catalyst switch | Productive | 2015-04-23 | 5.7 | 0.19 | S14.03 PH0 |  | 1 | 0.13 sqm
Fortinet | FortiGate - 60D | FGT60D4614025979 |  | X32A16D08U33 | Switch | Security appliance | Productive | 2014-11-20 | 0.9 | 0.014 |  |  | 1 | 0.03 sqm
BlackBox | ABC - 25 | INACCESSIBLE | MNP-MOCED6 / CMS27-PART2 | X32A16D08U34 | Switch | 8-Port Ethernet Switch | Productive | 2004-12-15 | 5 | 0.01 | S14.05 PH0 | S13.04 PH0 | 4 | 0.07 sqm
JUNIPER | 050 | 0097012006000020 |  | X32A16D08U34 | Switch | Ethernet Switch | Productive |  | 3.6 | 0.065 |  |  | 1 | 0.11 sqm
BlackBox | ABC - 25 | INACCESSIBLE | MNP-MOCED4 / CMS26-PART2 | X32A16D08U35 | Switch | 8-Port Ethernet Switch | Productive | 2004-12-15 | 5 | 0.01 | S14.05 PH0 | S13.04 PH0 | 4 | 0.07 sqm
JUNIPER | 050 | 0097012006000040 |  | X32A16D08U36 | Switch | Ethernet Switch | Productive |  | 3.6 | 0.065 |  |  | 1 | 0.11 sqm
Multitech | MT2834 | 10864159 | MODEM CMS01 | X32A16D08U39 | Switch | DATA/FAX MODEM | Productive | 2004-12-15 | 1 | 0.04 | S14.05 PH0 |  | 1 | 0.02 sqm
LANTRONIX | SCS200 | 9903233 | LANTRONIX CMS06 | X32A16D08U39 | Switch | Modem console server | Productive |  | 1 | 0.05 | S15.04 PH0 |  | 1 | 0.03 sqm
LANTRONIX | SCS200 | 9904168 | LANTRONIX CMS01 | X32A16D08U39 | Switch | Modem console server | Productive |  | 1 | 0.05 | S14.05 PH0 |  | 1 | 0.03 sqm
Multitech | MT2834 | 6928742 | MODEM CMS18 | X32A16D08U39 | Switch | DATA/FAX MODEM | Productive | 2004-12-15 | 1 | 0.04 | S14.05 PH0 |  | 1 | 0.02 sqm
LANTRONIX | SCS200 | 8623188 | LANTRONIX CMS18 | X32A16D08U39 | Switch | Modem console server | Productive |  | 1 | 0.05 | S14.05 PH0 |  | 1 | 0.03 sqm
Multitech | MT2834 | 10864160 | MODEM CMS06 | X32A16D08U39 | Switch | DATA/FAX MODEM | Productive | 2004-12-15 | 1 | 0.04 | S15.04 PH0 |  | 1 | 0.02 sqm
Dell | Rack42U - PS38S | INEXISTANT | WAN 2 | X32A16D09 | Rack | EQUIPMENT RACK 42U | Productive | 2004-12-14 | 170 | 0 |  |  | 42 | 0.61 sqm
Multitech | MT2834 | 10957490 | MODEM CMS27 | X32A16D09U04 | Switch | DATA/FAX MODEM | Productive | 2004-12-15 | 1 | 0.04 | S15.06 |  | 1 | 0.02 sqm
Multitech | MT2834 | 142266983 | MODEM CMS27 | X32A16D09U04 | Switch | DATA/FAX MODEM | Productive | 2004-12-15 | 1 | 0.04 |  |  | 1 | 0.02 sqm
LANTRONIX | Modem | 9903160 | MODEM | X32A16D09U04 | Switch | Modem | Productive |  | 1 | 0.05 | S15.06 |  | 1 | 0.03 sqm
STRATUS | V109 | 416964727 | OC1 CMS27 | X32A16D09U08 | Other | GRAPH | Productive | 2004-12-15 | 8 | 0.2 |  |  | 9 | 0.16 sqm
STRATUS | FT200 | 20435 | CMS27 | X32A16D10 | Server | STRATUS SERVER | Productive | 2006-10-30 | 45 | 0 |  |  | 43 | 0.52 sqm
IBM | 9307 - 4RX | 23GL133 | ML1_RSB203 | X32A16D11 | Rack | Rack | Productive |  | 125 | 0 |  |  | 42 | 0.60 sqm
IBM | C13 - 12 | ON105.14 |  | X32A16D11U01 | ACU | DPI 32A Universal Rack PDU 39Y8941 | Productive |  | 2 | 0 |  |  | 1 | 0.10 sqm
IBM | C13 - 12 | ON104.14 |  | X32A16D11U02 | ACU | DPI 32A Universal Rack PDU 39Y8941 | Productive |  | 2 | 0 |  |  | 1 | 0.10 sqm
IBM | 7945 - J4G | KD71RYG | ML1_X_KD71RYG | X32A16D11U03 | Server | System X3650 M3 | Productive | 10-04-2012 | 25 | 0.675 | ON104.14 | ON105.14 | 2 | 0.35 sqm
IBM | 7945 - J4G | KD71RVC | ML1_X_KD71RVC | X32A16D11U05 | Server | System X3650 M3 | Productive | 10-04-2012 | 25 | 0.675 | ON104.14 | ON105.14 | 2 | 0.35 sqm
IBM | 7945 - J4G | KD96PKF | ALLMESXCLLATPRD04 | X32A16D11U07 | Server | System X3650 M3 | Productive | 2012-10-05 | 25 | 0.675 | ON104.14 | ON105.14 | 2 | 0.35 sqm
IBM | 7945 - D4G | KD4A52F | ML1_X KD4A52F | X32A16D11U09 | Server | System X3650 M3 | Productive | 2012-10-25 | 25 | 0.675 | ON104.14 | ON105.14 | 2 | 0.35 sqm
IBM | 7945 - J4G | KD96PKC | ML1_X_KD96PKC | X32A16D11U11 | Server | System X3650 M3 | Productive |  | 25 | 0.675 | ON104.14 | ON105.14 | 2 | 0.35 sqm
IBM | 7945 - J4G | KD1R5R8 | ML1_X_KD1R5R8 | X32A16D11U13 | Server | System X3650 M3 | Productive | 2013-04-24 | 25 | 0.675 | ON104.14 | ON105.14 | 2 | 0.35 sqm
IBM | 7945 - J4G | KD1R5V0 | ALLMURPCLPRD01 | X32A16D11U15 | Server |  | Productive | 2013-08-29 | 25 | 0.675 | ON104.14 | ON105.14 | 2 | 0.35 sqm
IBM | 7945 - J4G | KD25CV3 | ALLMESXCLLATPRD05 | X32A16D11U17 | Server | System X3650 M3 | Productive | 03-03-2014 | 25 | 0.675 | ON104.14 | ON105.14 | 2 | 0.35 sqm
Cannon | Armoire Rack | Z8060000095908 | ML1_RNB201 | X32A16D12 | Rack | 42U RACK ENCLOSURE | Productive | 2008-02-07 | 270 | 0 |  |  | 42 | 0.64 sqm
Filler | Blank Filler |  |  | X32A16D12U01 | Patchpanel | Blank Filler for 2145UPS | Productive |  | 1 | 0 |  |  | 1 | 0.16 sqm
Filler | Blank Filler |  |  | X32A16D12U02 | Patchpanel | Blank Filler for 2145UPS | Productive |  | 1 | 0 |  |  | 1 | 0.16 sqm
Filler | Blank Filler |  |  | X32A16D12U03 | Patchpanel | Blank Filler for 2145UPS | Productive |  | 1 | 0 |  |  | 1 | 0.16 sqm
Filler | Blank Filler |  |  | X32A16D12U04 | Patchpanel | Blank Filler for 2145UPS | Productive |  | 1 | 0 |  |  | 1 | 0.16 sqm
Filler | Blank Filler |  |  | X32A16D12U05 | Patchpanel | Blank Filler for 2145UPS | Productive |  | 1 | 0 |  |  | 1 | 0.16 sqm
Cisco | 4500 - 4506 | FOX1201G7G0 | ML1-moB2dsw01 | X32A16D12U06 | Switch | LAYERS 2/3/4 SWITCH | Productive |  | 46 | 1.5 | ON100.34 PH0 | ON101.34 PH0 | 10 | 0.14 sqm
Nokia | IP390 | 93075200134 | ML1_MOB2MFW01 | X32A16D12U16 | Switch | FIREWALL | Productive | 2008-02-22 | 9 | 0.3 | ON101.34 PH0 |  | 1 | 0.19 sqm
Filler | Blank Filler |  |  | X32A16D12U17 | Patchpanel | Blank Filler for 2145UPS | Productive |  | 1 | 0 |  |  | 1 | 0.16 sqm
Filler | Blank Filler |  |  | X32A16D12U18 | Patchpanel | Blank Filler for 2145UPS | Productive |  | 1 | 0 |  |  | 1 | 0.16 sqm
Filler | Blank Filler |  |  | X32A16D12U19 | Patchpanel | Blank Filler for 2145UPS | Productive |  | 1 | 0 |  |  | 1 | 0.16 sqm
Filler | Blank Filler |  |  | X32A16D12U20 | Patchpanel | Blank Filler for 2145UPS | Productive |  | 1 | 0 |  |  | 1 | 0.16 sqm
Cisco | 4500 - 4506 | FOX1201G7DX | ML1-moB2csw01 | X32A16D12U21 | Switch | LAYERS 2/3/4 SWITCH | Productive | 2015-02-09 | 46 | 1.5 | ON100.34 PH0 | ON101.34 PH0 | 10 | 0.14 sqm
Cisco | 1900 - 1921 | FCZ1851C25R | ML1_MOB2ART01 | X32A16D12U31 | Switch | Integrated Services Routers | Productive | 2015-02-09 | 6 | 0.07 | on100.34 |  | 1 | 0.10 sqm
ISS | Proventia - GX5008 | R06838LA01 | ML1_moB2iss01 | X32A16D12U36 | Switch | Intrusion Prevention System | Productive | 2009-11-16 | 18 | 0.8 | ON100.34 PH0 | ON101.34 PH0 | 2 | 0.22 sqm
ISS | Proventia - External Bypass Unit | 60903056X1150 | ML1-MOB2ISS01/BYPASS | X32A16D12U38 | Switch | Network Intrusion Prevention System | Productive | 2009-11-16 | 2 | 0 |  |  | 1 | 0.16 sqm
ISS | Sentry Technology - PT 40 | ABNN0000454 | ML1_moB2sentry01 | X32A16D12U39 | Switch | Power and Console Access | Productive | 2009-11-16 | 2 | 0.84 | ON100.34 PH0 |  | 1 | 0.16 sqm
Cisco | ASA5500 - 5510 | JMX1423L3LN | ML1_MOB2AFW03 | X32A16D12U40 | Switch | ProCurve Switch | Productive | 30-07-2010 | 9 | .6 | ON100.34 PH0 |  | 1 | 0.07 sqm
IBM | 9307 - 4RX | 23Y8995 | ML1_RSB204 | X32A16D14 | Rack | Rack | Productive | 2008-02-07 | 125 | 0 |  |  | 45 | 0.60 sqm